CYCLIC VOLTAMMETRY

Introduction

Cyclic voltammetry is a very versatile electrochemical technique which allows to probe the mechanics of redox and transport properties of a system in solution. This is accomplished with a three electrode arrangement whereby the potential relative to some reference electrode is scanned at a working electrode while the resulting current flowing through a counter (or auxiliary) electrode is monitored in a quiescent solution. The technique is ideally suited for a quick search of redox couples present in a system; once located, a couple may be characterized by more careful analysis of the cyclic voltammogram. More precisely, the controlling electronic is designed such that the potential between the reference and the working electrodes can be adjusted but the big impedance between these two components effectively forces any resulting current to flow through the auxiliary electrode. Usually the potential is scanned back and forth linearly with time between two extreme values – the switching potentials using triangular potential waveform (see Fig.1). When the potential of the working electrode is more positive than that of a redox couple present in the solution, the corresponding species may be oxidized (i.e. electrons going from the solution to the electrode) and produce an anodic current. Similarly, on the return scan, as the working electrode potential becomes more negative than the reduction potential of a redox couple, reduction (i.e. electrons flowing away from the electrode) may occur to cause a cathodic current. By IUPAC convention, anodic currents are positive and cathodic currents negative.

The magnitude of the observed faradaic current can provide information on the overall rate of the many processes occurring at the working electrode surface. As is the case for any multi–step process, the overall rate is determined by the slowest step. For an redox reaction induced at a working electrode, the rate determining step may be any one of the following individual step depending on the system: rate of mass transport of the electro-active species, rate of adsorption or de-sorption at the electrode surface, rate of the electron transfer between the electro-active species and the electrode, or rates of the individual chemical reactions which are part of the overall reaction scheme.

For the oxidation reaction involving n electrons

the Nernst Equation gives the relationship between the potential and the concentrations of the oxidized and reduced form of the redox couple at equilibrium (at 298 K):

where E is the applied potential and E0' the formal potential; [OX] and [Red] represent surface concentrations at the electrode/solution interface, not bulk solution concentrations. Note that the

Nernst equation may or may not be obeyed depending on the system or on the experimental conditions.

A typical voltammogram is shown in Fig. 2. The scan shown starts at a slightly negative potential, (A) up to some positive switching value, (D) at which the scan is reversed back to the starting potential. The current is first observed to peak at Epa (with value ipa) indicating that an oxidation is taking place and then drops due to depletion of the reducing species from the diffusion layer. During the return scan the processes are reversed (reduction is now occurring) and a peak current is observed at Epc (corresponding value, ipc).

Providing that the charge–transfer reaction is reversible, that there is no surface interaction between the electrode and the reagents, and that the redox products are stable (at least in the time frame of the experiment), the ratio of the reverse and the forward current ipr/ipf = 1.0 (in Fig. 2 ipa = ipf and ipc = ipr). In addition, for such a system it can be shown that:

- the corresponding peak potentials Epa and Epc are independent of scan rate and concentration,

- the formal potential for a reversible couple E0' is centered between Epa and Epc: E0'= (Epa + Epc)/2

- the separation between peaks is given by (Ep = Epa – Epc = 59/n mV  (for a n electron transfer reaction) at all scan rates (however, the measured value for a reversible process is generally higher due to uncompensated solution resistance and non-linear diffusion. Larger values of (Ep, which increase with increasing scan rate, are characteristic of slow electron transfer kinetics).

It is possible to relate the half-peak potential (Ep/2 , where the current is half of the peak current) to the polarographic half-wave potential, E1/2:  Ep/2 = E1/2 ± 29mV/n (The sign is positive for a reduction process.) For multielectron-transfer (reversible) processes, the cyclic voltammogram consists of several distinct peaks, if the Eo values for the individual steps are successively higher and are well separated. An example of such mechanism is the six-step reduction of the fullerenes C60 and C70 to yield the hexaanion products C606- and C706- where six successive reduction peaks can be observed.

To distinguish between reversible ( diffusion-controlled) and irreversible (charge-transfer controlled)  kinetics of electrode process potential scan-rate is used as diagnostic tool – the rate of reagent transport is proportional to square root of scan-rate. Thus in one experimental set a shift in reversibility might be executed and analysis of (Ep vs. v1/2 gives information on reversibility and applicability of further calculations.

In simple terms, the working electrode may be regarded as a "reagent" of adjustable oxidizing or reducing strength. However, this is a purely conceptual image. In actual fact, the electrochemical processes are occurring at the interface of two different phases, the electrode and the electro-active species in solution. In other words, the processes under studies are heterogeneous in nature. For the electron transfer to occur, the molecules in solution have to approach the electrode. In a cyclic voltammetry experiment, the solution is kept unstirred; in this situation, mass transport can occur only by diffusion due to concentration gradients created around the electrode surface. Such concentration–distance profiles at different steps of a cyclic voltammogram scan are illustrated in Fig. 3. The magnitude of the observed signal will be very much a function of these diffusional properties of the system. Intuitively, the current intensity (i.e. the flow of electrons) is expected to depend on the surface area of the working electrode and the concentration of the electro-active species. Also, one can expect the voltage scanning rate to affect the concentration profile around the electrode which itself directly affects the rate of charge transport, and for this matter the diffusion coefficient appears explicitly. The expression of the peak current (A) for the forward sweep in a reversible system at 298 K is given by the Randles–Sevcik equation:

where n is the number of electron equivalent exchanged during the redox process, A (cm2) the active area of the working electrode, D (cm2 s–1) and C* (mol cm–3) the diffusion coefficient and the bulk concentration of the electroactive species; v is the voltage scan rate (V s–1). In the present experiment, the dependence of ipf  on scan rate and concentration will be examined.

Figure 3. Qualitative diagrams showing concentration--distance profile at various stage of the cyclic voltammogram shown in Fig. 2; the solid lines correspond to the reducing species and the dotted lines to the oxidizing species. [1

Irreversible and Quasi-reversible Systems

For irreversible processes (those with sluggish electron exchange), the individual peaks are reduced in size and widely separated. Totally irreversible systems are characterized by a shift of the peak potential with the scan rate:

Ep = E° - (RT/naF)[0.78 - ln(ko/(D)1/2) + ln (naF/RT)1/2]

where  is the transfer coefficient and na is the number of electrons involved in the charge-transfer step. Thus, Ep occurs at potentials higher than E°, with the overpotential related to k° (standard rate constant) and . Independent of the value k°, such peak displacement can be compensated by an appropriate change of the scan rate. The peak potential and the half-peak potential (at 25°C) will differ by 48/n mV. Hence, the voltammogram becomes more drawn-out as n decreases

The peak current, given by:

ip = (2.99x105)n(na)1/2ACD1/21/2

is still proportional to the bulk concentration, but will be lower in height (depending upon the value of ). Assuming  = 0.5, the ratio of the reversible-to-irreversible current peaks is 1.27 (i.e. the peak current for the irreversible process is about 80% of the peak for a reversible one). For quasi-reversible systems (with 10-1 > k° > 10-5 cm/s) the current is controlled by both the charge transfer and mass transport. The shape of the cyclic voltammogram is a function of the ratio k°/(nFD/RT)1/2.  As the ratio increases, the process approaches the reversible case. For small values of it, the system exhibits an irreversible behavior. Overall, the voltammograms of a quasi-reversible system are more drawn out and exhibit a larger separation in peak potentials compared to a reversible system.

For quasi-reversible reaction ((Ep up to 200 mV) a numerical approach brings values of function Ψ :

| (Ep | 64 | 68 | 72 | 84 | 92 | 105 | 121 | 141 | 212 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ψ | 6 | 3 | 2 | 1 | 0,75 | 0,5 | 0,35 | 0,25 | 0,1 |

to calculate the rate constant, using following equation:

Ψ   =  ks (Dox/Dred)α/2  /  [ Doxπ(nF/RT)]1/2

References

- Wang, J., Analytical Electrochemistry, Chapter 2, John Wiley & Sons (2000)

- Nicholson, R.S.; Shain, I., Anal. Chem., 36, 706 (1964).

- David K. Gosser, Jr., Cyclic Voltammetry: Simulation and Analysis of Reaction Mechanisms, VCH Publishers (1993).

Allen J. Bard and Larry R. Faulkner, Electrochemical Methods: Fundamentals and Applications, Second Edition, John Wiley and Sons Publishers (2001).

# Experimental

# Reagents

Prepare a 100 mL stock solution of 10mM in respect to Fe(CN)63- and Fe(CN)64-  in 1 M KCl.

Note down the exact quantities of weighted substances. From this solution prepare 25 mL quantities of approximately 2, 4, 6 and 8 mM Fe(CN)63- / Fe(CN)64-  in 1 M KCl. All solution concentration must be accurately known to three significant figures so use analytical methods (weigh on analytical balance, use volumetric flasks and pipettes).

A sample  of Fe(CN)63- / Fe(CN)64- in 1M KCl will be prepared from stock solution by instructor.

Equipment

Instructions to assembly the cell, control the potentiostat and execute the measurements will be given “in situ” by the instructor.

Procedure

- The first step is cleaning of the electrode surface in an effort to ensure that we will have good electron transfer. Polish the electrode surface on the polishing pad and rinse with distilled water. Use microscope to follow the changes.

- Fill the cell with 1M KCl,  place the platinum electrode, the Ag/AgCl reference electrode, and the platinum gauze counter electrode in a solution and record a voltammogram of a supporting electrolyte from 0 to 0.5 V versus NHE.

- Fill the cell with the prepared solution of 10mM Fe(CN)63- /Fe(CN)64-  and run the CV from  0V to 0.5V versus NHE, scan rate 20m/s.  Repeat The CVs for other scan rates: 10, 30, 50, 100, 250, 500 , 1000 , 1500 and 2000 mV/s. Run Save the results. From the diagrams determine the values of ip and  Ep for both peaks. During the measurements it might be needed to shift the vertex potential values in order to get nicely formed peaks and terminate the scan just behind the peak. Run 2 cycles at each scan rate. At higher scan-rates 3-4 cycles are sometimes needed to get peak values not disturbed by hardware limitation (current converter is sometimes too slow).

- Remove the solution from the cell rinse it with distilled water and repeat procedure for all prepared solutions of Fe(CN)63- /Fe(CN)64-  as well as for unknown solution. Use only one chosen scan rate – 50 mV/s ,Make sure that you rinse electrodes  and the cell well before filling with next solution. Save the results.  From the diagrams determine the values of ip and  Ep for both peaks.

Report

- Using the data generated from the CV scans of the 10mM Fe(CN)63- /Fe(CN)64- report the values of ipa, ipc, Epa Epc and E0’. Make a plot of ipa, ipc versus v1/2 and using the Randles-Sevcik equation report the diffusion coefficients for oxidized and reduced reagent  (Dox and Dred).  . The value of A will be given by instructor.

- Evidence of electrochemical reversibility can be ascertained by the independence of (Ep on v . From the system using variable scan rate show that the system is electrochemically reversible.

- The number of electrons transferred in the electrode reaction (n) for the reversible couple is given by (Ep = 0.059/n. Calculate the values (Ep and n using data from the 4mM solution. What should be the value of n for this system? Comment?

- Check the  applicability of quasi-reversible approach to get reaction rate constant ((Ep values for high scan rates) – if possible, calculate the constant using calculated diffusion coefficients, assuming α= ½ .

- Prepare the calibration curve for analytical determination of complex concentration, using peak current values and true solution concentrations. From the calibration curve read the value of unknown sample concentration.

- Use the Randles-Sevcik equation and the value of D calculated in point 1 to calculate the concentration of unknown solution and compare the value with that obtained from analytical procedure. .

# Text boxes

Fig.2 The expected response of a reversible redox couple during a single potential cycle [1].

Figure 1. A cyclic voltammetry potential waveform with switching potentials [1]